## Sheet1
Publication | Summary of key points | Additional Comments
NEB guidelines for PCR optimisation (in NEB website) | Ideal dNTP concentration is typically 200uM of each, however, some enzymes may require as much as 400uM each. Excess dNTP can chelate Mg2+ and inhibit the polymerase.Lower dNTP concentration can increase fidelity, however yield is often reduced.
A Biochemical Perspective of the Polymerase Chain Reaction Will Bloch Biochemistry, Vol. 30, No. 11 (2736-2747), 1991 | Experimental values of dNTP concentration range from 200 pM to 1.5 mM (for each dNTP), although there are sound indications from a second model system, not yet applied to Taq pol I, that the error rate should vary directly with dNTP concentration and that reducing dNTP concentration to near 10 uM might increase fidelity without reducing enzyme activity (Petruska et ai., 1988; Mendelman et al., 1990). Taq pol 1 results of Kwok et al. (1990) (Kwok, S. Y., Kellogg, D. E., McKinney, N., Spasic, D., Coda, L., Levcnson, C., & Sninsky, J. J. Nucleic Acids Res., 18, 999-1005) also favor much lower dNTP concentrations.
An Induced-Fit Kinetic Mechanism for DNA Replication Fidelity: Direct Measurement by Single-Turnover Kinetics Isaac Wong, Smita S. Patel, and Kenneth A. Johnson Biochemistry 1991, 30, 526-537 | Study on T7 DNA Polymerase: the kinetic parameters for the incorporation of the incorrect triphosphates dATP, dCTP, and dGTP were determined, giving, respectively, kcat/Km values of 91, 23, and 4.3 M-1s-I. The rates of misincorporation for the three incorrect dNTPs were determined over a range of dNTP concentrations from 5 uM up to IO mM. The results in the millimolar range are shown in Figure IA. Misincorporation rates were found to be linearly dependent on dNTP concentrations up to 4 mM. Beyond 4 mM, severe inhibition was observed, presumably due to inhibition of DNA binding. Regression analysis gave linear best fits to the data with the slopes defining the apparent second-order rate constant, kcat/Km. These experiments were carried out under steady-state conditions in which DNA was in 200-fold excess over enzyme
Pre-Steady-State Kinetic Analysis of Processive DNA Replication Including Complete Characterization of an Exonuclease-Deficient Mutant Smita S. Patel, Isaac Wong, and Kenneth A. Johnson* Biochemistry 1991, 30, 51 1-525 | Details on methodology may be relevant. Particularly important Fig 1 Pg 515 (shows biphasic curve for time course of 32P-dTTP incorporation over time on the 25/36mer template); Fig 3 (Pg 516) (pre steady state kinetics for 32P-dTTP incorporation over millisecs. Legend mentions that keeping the template conc. constant the Mg2+.dTTP conc was increased. Is it that the [Mg] was kept constant at 12.5mM (as stated in methods) or increased with increasing dTTP? I think most expts measure single nucleotide incorporation.
Analysis of DNA polymerase activity in vitro using non-radioactive primer extension assay in an automated DNA sequencer D.O. Lopes, C.G. Regis-da-Silva, A. Machado-Silva, A.M. Macedo, G.R. Franco, J.S. Hoffmann, C. Cazaux, S.D.J. Pena, S.M.R. Teixeira and C.R. Machado, Genet. Mol. Res. 6 (2): 250-255 (2007) | Paper is about using a non-radioactive, in vitro pirmer extension assay to study DNA polymerase activity. Uses Klenow fragment of DNA PolI as the model and establishes pH optimum of 8, Mg optimum of 10mM and NaCl optimum of 50mM.
DNA Polymerase Insertion Fidelity GEL ASSAY FOR SITE-SPECIFIC KINETICS Michael S. Boosalis, John Petruska, and Myron F. Goodman THE JOURNAL OF BIOLOGICAL CHEMISTRY 1987 Vol. 262, No. 30, Issue of October 25, pp. 14689-14696 | A quantitative assay based on gel electrophoresis isdescribed to measure nucleotide insertion kinetics at an arbitrary DNA template site. The assay is used to investigate kinetic mechanisms governing the fidelity of DNA synthesis using highly purified Drosophila DNA polymerase a holoenzyme complex and M13 primer-template DNA. The protocol for DNA Polymerase Reactions described in the paper is closest to our study -Equal volumes of solution A containing enzyme-primer (23-mer)-template (wt M13) complex and solution B containing dNTP substrates were mixed to start polymerization reactions for kinetic studies. Solution A was made by adding 2 ul of Drosophila polymerase a stock solution (2,000 units/ml) and 9 pl of concentrated bovine serum albumin (25 mg/ml) to 80 pl of the original primertemplate annealing solution. Solution B contained various concentrations of dNTPs in 52 mM Tris . HCl (pH 8.0), 16 mM MgCl2, and 5 mM dithiothreitol. A 10-ul reaction mixture of solutions A and B contained approximately 0.2 unit of polymerase activity (specific activity, 50,000 units/mg, a unit being capable of incorporating 1 nmol of dNTP into acid-soluble material in 60 min at 37 oC (4)). The estimated ratio of primer-template to enzyme is 30:1. The reaction mixture was incubated at 37 oC for time periods of 1 or 4 min. Reaction was terminated by adding 20 pl of 20 mM EDTA in 95% formamide. While the expts are designed to measure fidelity, [dNTP] up to mM range has been used to measure Pol activity, (pl note the high Mg conc in these assays).
DNA sequencing with Thermus aquaticus DNA polymerase and direct sequencing of polymerase chain reaction-amplified DNA. MICHAEL A. INNIS*, KENNETH B. MYAMBO, DAVID H. GELFAND, AND MARY ANN D. BROW Proc. Natl. Acad. Sci. USA Vol. 85, pp. 9436-9440, December 1988 | Paper provides a sequencing protocol using Taq Polymerase. This paper is quoted by Life Technologies (for the prcessivity of taq polymerase), for the following info from the Results section: Within 2 min at 70°C the entire 7.25-kilobase template was replicated; this corresponds to an extension rate in excess of 60 nucleotides per sec. Taq DNA polymerase retained significant activity at lower temperatures with calculated extension rates of 24, 1.5, and 0.25 nucleotides per sec at 55°C, 37°C, and 22°C, respectively. At 70°C and at substantial substrate excess (0.1: 1 molar ratio of polymerase to primer/template; data not shown) most of the initiated primers were completely extended prior to reinitiation on new primer/template substrate. These results showed Taq DNA polymerase to be highly processive (sequencing reactions used ~6units Taq/ reac)....The best extensions occurred in the absence of KCI; at 50 mM KCl there was slight inhibition of enzyme activity, and at ³75 mM KCI, the activity of Taq DNA polymerase was significantly inhibited. Further, paper states, "Taq DNA polymerase is sensitive to the free magnesium ion concentration." (no cited ref)" . We do not observe misincorporation of bases if the concentration of all four dNTPs is similar and/or if they are present at ³10uM each. Sequence analysis of cloned PCR products generated with Taq DNA polymerase suggests that the fidelity of PCR using 50-200 uM each dNTP is quite respectable (approximately one mistake in 4000-5000 base pairs sequenced after 35 cycles of PCR.
High fidelity DNA synthesis by the Therrmus aquaticus DNA polymerase Kristin A.Eckert and Thomas A.Kunkel* Nucleic Acids Research, Vol. 18, No. 13 3739 | Oft quoted paper, it investigates the fidelity of taq DNA Polymerase in in vitro assays. Polymerase reactions (100 ul) contained approximately 500 ng (reversion assays) or 600 ng (forward assay) M13mp2 gapped DNA substrate (Kunkel, T. A. and A. Soni (1988) J. Biol. Chem., 263, 4450-4459), 20 mM TrisHCl (pH 7.3 at 70oC), 50 mM KCI, 10 mM MgCl2 and 1 mM each of dATP, dGTP, dCTP and dTTP. The reaction mixtures were prewarmed to 70°C for five minutes, followed by the addition of 0.1 pmol of Taq DNA polymerase a 1:1 molar equivalent of enzyme to DNA ) in 1/10th volume of enzyme diluent (10 mM TrisHCl, pH 8.0, 50 mM KCI, 0.1 mM EDTA, 0.5% Nonidet P40, 0.5% Tween 20, and 500 itg/ml gelatin). After incubation at 70°C for five minutes, the reactions were stopped by the addition of EDTA to a final concentration of 15 mM. Mutation frequency increases with increasing [Mg]. "At equimolar MgCl2 and dNTPs, the reversion frequency was near the spontaneous frequency (l.4x 10-5)... When MgCl2 and dNTPs are present in equimolar concentrations relative to excess MgCl2 a six-fold increase in the reaction incubation time was required for complete gap-filling synthesis. (What does this mean? Also see Table 1 Pg 3741.)...These data strongly suggest that the fidelity of Taq polymerase responds not to the absolute MgCl2 concentration, but rather to the amount of MgCl2 in excess over the total deoxynucleotide triphosphates present during DNA synthesis. Several lines of experimental evidence support a positive correlation between the processivity, i.e. the number of nucleotides added per association event, and the fidelity of DNA polymerases (Kunkel, T. A. (1985) J. Biol. Chem., 260, 12866-12874; Bebenek, K., Abbotts, J., Roberts, J.D., Wilson, S.H., and Kunkel, T.A. (1989) J. Bio. Chem., 264, 16948-16956 and references therein). Interestingly, the in vitro reaction conditions that increase the fidelity of Taq DNA polymerase are similar to those conditions that have been shown to affect the rate and processivity of other DNA polymerases. The processivities of the eukaryotic DNA polymerases a and d as well as E. coli DNA polymerase I increase as either the MgCl2 concentration and/or the reaction pH are decreased (Sabatino, R. D., Myers, T.W., Bambara, R.A., Kwon-Shin, O., Marraccino, R.L., and Frickey, P.H. (1988) Biochemistry, 27, 2998-3004; Hohn, K.-T. and F. Grosse (1987) Biochemistry, 26, 2870-2878; Abbotts, J., SenGupta, D.N., Zon, G. and Wilson, S.H. (1988) J. Bio. Chem.,263, 15094-15103). An important point to note is that conditions that are optimal for polymerase fidelity are not necessarily those that are optimal for synthetic rate and/or product yield in PCR (Sabatino, R. D., Myers, T.W., Bambara, R.A., Kwon-Shin, O., Marraccino, R.L., and Frickey, P.H. (1988) Biochemistry, 27, 2998-3004.)
High-level Expression, Purification, and Enzymatic Characterization of Full-length Thermus aquatlcus DNA Polymerase and a Truncated Form Deficient in 5' to 3' Exonuclease Activity Frances C. Lawyer, 1 Susanne Stoffel, 1 Randall K. Saiki, 2 Sheng-Yung Chang, 3 Phoebe A. Landre, ~ Richard D. Abrarnson, 1 and David H. Gelfand Genome Res. 1993 2: 275-287 | Characterization of Taq pol using the activated salmon-sperm DNA assay and the primed-ssM13 DNA assay. For Taq Pol I, magnesium chloride stimulated enzyme activity maximally at 2-3 mM (Fig. 4A) and 10 mM MgC12 yielded only 60% of the maximum activity, at 200 uM each TTP, dATP, and dGTP and 100 uM dCTP. Optimizations were performed as activated salomon sperm DNA assays in 25 mM TAPS, pH 9.4, 55 mM KCl, and 11.2 fmoles (~0.3Units) Taq polymerase per reaction (50ul). For Taq Pol I assayed with activated DNA template, the optimum KCl concentration was 55 mM with approximately 58% activity at 0 and 150 mM. In contrast, with Taq Pol I and the M13 primer-template, maximum activity was achieved at 10 mM KCl. Optimization reactions (50 ul) for KCl were performed using both the M13 primer-template (53 nM) and activated DNA template (250 ug/ml) in 2.5 mM MgC12 in an otherwise standard TAPS, pH 9.4 buffer with Taq Pol I (11.2 fmoles/ 0.3units enzyme) per reaction (50ul). The T. aquaticus DNA polymerase we describe has a molecular weight of 94,000, and a specific activity of 292,000 units/mg. Optimal polymerization activity is achieved at 75-80~ in the presence of 10-55 mM KC1 and 2-3 mM Mg 2+.
Isolation, Characterisation and Expression in E. coli of the DNA Polymerase from Thermus Aquaticus Frances C Lawyer, Susanne Stoffel, Randall K Saiki, Kenneth Myanbo, Robert Drummond and David H Gelfand Journal of Biological Chemistry, 1989 Vol 264 (11) 6427-6437 | The original reference for the assay protocol we have been following comes from this paper See pic on right.
Kinetic Mechanism of DNA Polymerase I (Klenow) R. D. Kuchta, V. Mizrahi, P. A. Benkovic, K. A. Johnson, and S. J. Benkovic* Biochemistry 1987, 26, 8410-8417 | The kinetic mechanism of the polymerase activity of the Klenow fragment has been investigated with a random sequence DNA template-primer. Steady-state rates of polymerization were measured by incubating 0.2 uM DNA, 1-5 uM [ a - 32 P dNTP~5000 cpm pmol -1), and 5 mM MgCl2, in 50 mM Tris-HCl, pH 7.4, in a final volume of 0.3 mL at 22 oC. Polymerization was initiated by addition of KF (Klenow Fragment) to a final concentration of 2 nM. After 15-180 s, 25-uL aliquots were withdrawn and quenched into 12.5 uL of 0.5 M EDTA, pH 7.4. The amount of [32P]dNMP incorporated into DNA was determined by the DE81 filter binding assay. In those cases where several different dNMPs were incorporated into DNA, only one contained 32P. Measurement of KD of DNA. A solution of 50 nM KF, 25-200 nM 13/20-mer, 5 mM MgCl2, and 50 mM Tris-HCl was incubated for 30 s at room temperature. To 40 uL of this solution, 360 uL of 1 uM [a-32P]dATP (~5000 cpm pmol-1), 5 mM MgCl2, and 50 mM Tris.HCl, pH 7.4, were added. After 15, 30, 45, 60, 75, and 90 s, 50-uL aliquots were withdrawn and added to 25 uL of 0.5 M EDTA, pH 7.4. The amount of radioactivity incorporated into DNA was determined with the filter binding assay and extrapolated to time zero to obtain a measure of enzyme-bound DNA. The amount of enzyme bound DNA was measured as a function of DNA concentration and the KD obtained by Scatchard analysis of the data. The paper also describes detailed protocols for Measurement of Keq, KD of dATP, Kinetics for the Measurement of the KD of dATP and PPi. It reports data to show that the amount of KF-DNA complex formed is dependent on the DNA concentration (see Fig 5 Pg 8414).
Optimization of the Polymerase Chain Reaction with Regard to Fidelity: and Vent Polymerases Lucy L. Ling, Phouthone Keohavong, Cremilda Dias, and William G. Thilly Genome Res. 1991 1: 63-69 | To maximize the fidelity of Taq, Vent, and Sequenase, varied concentrations of dNTPs, pH, and magnesium were tested iteratively, and the optimal conditions with regard to these variables have been defined. Previous studies of Taq had concluded that its fidelity is good at low equimolar concentration of total dNTP to Mg2+ concentration (?) and that, in general, it is improved by lowering dNTP concentration, even in excess of Mg2+ (Eckert, K.A. and T.A. Kunkel. 1990 Nucleic Acids Res. 18: 3739-3744; Tindall, K.R. and T.A. Kunkel. 1988, Biochemistry 2 7:6008-6013) Our results confirm these reports but also show that for both Taq and Sequenase, in conditions where the Mg2+ concentration is high and the total dNTP concentration is less than that of magnesium, fidelity is optimal at higher dNTP concentration. | My understanding: Excess Mg affects fidelity (is this [Mg}> 2mM?). Low dNTP:Mg ratio or equimolar dNTP:Mg has optimal fidelity. In this iterative optimisation of dNTP, pH, Mg, [dNTP] was first optimised, and then keeping this at a fixed value, the [Mg] is optimised. Table 1 summarises the Taq reaction conditions: each(?) [dNTP]: 0.2mM and [Mg]: 2mM gives an efficiency of 70%; however, each(?)[dNTP]: 0.5-1.5mM and [Mg]: 5mM gives an efficiency of 36% but a lower error rate. Eckert and Kunkel (1990, 1991) describe what happens when keeping Mg constant (excess?), [dNTP] is varied. Also Check ref 18, 19 from the paper.
Fidelity of Therrmococcus litoralis DNA polymerase (Vent) in PCR determined by denaturing gradient gel electrophoresis Neal F.Cariellol , James A.Swenberg and Thomas R.Skopek Nucleic Acids Research, Vol. 19, No. 15 4193-4198 | DNA synthesis fidelities of two thermostable DNA polymerases, Thermus aquaticus (Taq) and Thermococcus litoralis (Tli, also known as VentTM), and a non-thermostable enzyme, a modified T7 DNA polymerase (SequenaseR), were determined by analyzing polymerase chain reaction (PCR) products using denaturing gradient gel electrophoresis (DGGE).The effect of dNTP concentration on the fidelity of Tli polymerase was also examined. Plasmid template was amplified with Tli polymerase using 200, 50, 20, and 10uM dNTPS. As the dNTP concentration was reduced, the efficiency of amplification decreased...55%, 51%, 43%, and 30% using 200, 50, 20, and l0,uM dNTPs, respectively. (This data unavailable for Taq in this paper). For taq, the buffer contained 6.7mM Mg, 100uM dNTPs and 2units Taq.( For more details, see Methods section Pg 4194). The efficiency of PCR amplification is given by: amplification factor = Xn where efficiency =X -1, and n = the number of cycles.
Fidelity of DNA synthesis by the Therrmococcus litoralis DNA polymerase-an extremely heat stable enzyme with proofreading activity P.Mattila, J.Korpela, T.Tenkanen and K.Pitkanen Nucleic Acids Research, Vol. 19, No. 18 4967-4973 | The interest was to examine the fidelity of thermostable DNA polymerases isolated from (other sources than the Thermus species), Thermococcus litoralis (Tli/ Vent). Besides 3'-5'exonuclease activity assays, the paper describes reversion assay for base substitution fidelity using the gapped m13mp2 substrate, similar in principal to the Eckert and Kunkel work. In the results section, on Pg 4970 under Reversion Assay for Base Substitution Fidelity: An interesting finding was that the reversion frequency of both VentTMRExo-& and ReplinaseTM decreased 2-fold when the total concentration of dNTPs was increased from 200 uM to 4 mM. This may be due to the fact that the total 4 mM dNTP concentration is closer to equimolar Mg2+/dNTP concentration than the respective 200 uM total dNTP concentration. As earlier described (Eckert and Kunkel (1990) Nucl. Acids Res., 18, 3739-3744) the equimolar concentrations of Mg2+ and dNTPs result in higher fidelities among DNA polymerases without proofreading exonuclease activity. Comparative values obtained for Taq DNA polymerase regarding the reversion assay for base substitution fidelilty vary between 260-310x 10-6 (assayed in 10 mM Mg2+ and 1 mM total dNTP concentration) (Tindall and Kunkel, (1988) Biochemistry, 27, 6008-6013). Table IVa Pg 4972 shows that reversion frequency increases when keeping Mg (2mM), units of enzyme (1unit) constant, total [dNTP] is increased from 200uM to 4mM. Also reversion frequency remains the same when keeping dNTP (4mM) and enzyme (1unit) constant), [Mg] is increased from 2 to 10mM (this is because the [dNTP]:[Mg] ratio remains the same. Together Table IVa and IVb are used to infer the following: either high dNTP concentration or high Mg2+ concentration alone does not cause elevated mutation frequencies in either of the assays. Therefore, the fidelity of VentTMN DNA polymerase responds not only to the absolute Mg2+ or to the absolute dNTP concentration, but also to the relative concentrations of Mg2+ and dNTPs. However, the effect of absolute Mg2 + concentration on the fidelity is stronger than the respective effect of absolute dNTP concentration. The paper suggests the following: high [dNTP] inhibits the 3'-5'exoculease activity of Vent. In exo- polymerases, relative conc of dNTP and Mg is important for fidelity. We also noticed an increase in the mutant frequencies in both reversion and forward assays when high enzyme amounts (5 units) were applied in the reactions. However, the mechanism of decreased fidelity by high amount of enzyme remains yet unknown. One possible explanation is that the enzyme binds its cofactor Mg2+ thus affecting the relative concentration of Mg2+ and dNTPs in favor of dNTPs...Low relative concentrations of Mg2+ ions and dNTPs result in highest fidelities according to our studies | Seems to be by far clearest in understanding the role of Mg and dNTP.
Fidelity of DNA Synthesis by the Thermus aquaticus DNA Polymerase Tindall, K.R. and Kunkel, T.A. (1988) Biochemistry, 27, 6008-6013.
Elementary Steps in the DNA Polymerase I Reaction Pathway F. R. Bryant, K. A. Johnson, and S. J. Benkovic* Biochemist Volume 22, Number 15 July 19, 1983 | In the present study, we have carried out isotope-trapping and rapid-kinetic experiments in an effort to identify the elementary steps involved in the initiation and propagation of a processive cycle of POlymerization as catalyzed by Pol I. In order to simplify this initial investigation, the homopolymer template-primer system poly(dA).oligo(dT), which requires only a single triphosphate (TTP) as the reacting nucleotide substrate, was employed.Methods section Pg 3538: MgCI2: The Mg concentration used was 2 mM, in order to give optimal rates of polymerization as previously reported (Travaglini et al., 1975). When high concentrations of TTP were used, the total Mg concentrations was adjusted for the formation of the Mg-TTP complex, so that the free Mg concentration was always 2 mM. TTP: The TTP concentration was 33 uM unless indicated otherwise. This concentration was found to give optimal rates of polymerization when the poly(dA).oligo(dT) template primer system was used. TTP concentrations higher than 33 uM resulted in substrate inhibition. | The only publication so far that states that the optimum free [Mg] for polymerisation is 2mM. Also the only publication to state substrate inhibition but is an early paper (1983) and therefore the Mg chelation by dNTP may not have been elucidated.
Kinetic Analysis of Escherichia Coli Deoxyribonucleic Acid Polymerase I* Travaglini, E. C., Mildvan, A. S., & Loeb, L. A. (1975) J. Biol Chem, (250) 8647 | The abstract states: The kinetic data also establish the existence of multiple nucleotide binding sites on DNA polymerase which influence the rate of polymerization and are therefore consistent with the prealignment of substrates on the enzyme prior to polymerization.
red lettering: important points relevant to our assay
italics: Statement/ summary/ comment by SM
regular: quoted text from the paper.