## expt'al details
Date | Template Amt (ng) | Template Conc (nM) | Enzyme Conc (nM) | Template: Enzyme | dNTP conc (uM) | Assay Temp | Equilibration of Taq with Template-primer | PG Quantitation | PG Dilun | Quantitation-Instrumentation | Comments |  | Template Conc (nM) | Taq Conc (nM) | dNTP Conc (uM) | Assay Temp (degC) | Eqbrn | Background | Net RFU Gain | Largest Std Error in replicate RFU values
2012-01-18 | 10 | 20 | 0.36 | 55.5556 | 400 | 37-80oC | No | 5ul rxn + 45ul PG | 1:200 | F'scan | 0.36nM Taq Pol chosen for historical reasons: Most older expts done with 0.36nM Taq. | 2012-01-01 | 100 | 0.36 | 400 | 55 |  | 1.3 | 1.5 | 0.4
| 50 | 100 | 0.36 | 277.7778 | 400 | [10 empty] | 65 |  | 1.5 | 3.9 | 1.4
| 100 | 200 | 0.36 | 555.5556 | 400 | [10 empty] | 70 |  | 1.5 | 2.2 | 0.9
| 150 | 300 | 0.36 | 833.3333 | 400 | [10 empty] | 75 |  | 1.4 | 2.3 | 1.1
| 250 | 500 | 0.36 | 1388.8889 | 400 | [7 empty] | 200 | 0.36 | 400 | 55 |  | 3 | 1.5 | 0.5
| 350 | 700 | 0.36 | 1944.4444 | 400 | [10 empty] | 65 |  | 3.5 | 3.1 | 1.5
| 500 | 1000 | 0.36 | 2777.7778 | 400 | [10 empty] | 70 |  | 3.5 | 3.7 | 1.7
[16 empty] | 75 |  | 3.2 | 3.1 | 1.2
2012-02-13 | 0.25 | 0.50201 | 0.36 | 1.3945 | 200 | 65-70oC | No | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Template conc reduced due to background issues. PG dilution altered so that the entire 20ul reaction may be quantitated in the PCR plate itself without realiquoting (thus remove one level of error in replicates).
| 0.5 | 1.004 | 0.36 | 2.7889 | 200
| 0.75 | 1.506 | 0.36 | 4.1834 | 200 | [6 empty] | 2012-02-01 | 20 | 0.36 | 200 | 65 |  | 1.1 | 2.1 | 0.23
| 1.5 | 3.012 | 0.36 | 8.3668 | 200 | [7 empty] | 20 | 0.36 | 200 | 70 |  | 0.99 | 1.3 | 0.19
| 2.5 | 5.0201 | 0.36 | 13.9447 | 200 | [7 empty] | 20 | 0.72 | 200 | 65 |  | 1.1 | 3 | 0.34
| 5 | 10.0402 | 0.36 | 27.8893 | 200 | [7 empty] | 20 | 0.72 | 200 | 70 |  | 1 | 2.3 | 0.26
| 7.5 | 15.0602 | 0.36 | 41.834 | 200
| 10 | 20.0803 | 0.36 | 55.7787 | 200 | [7 empty] | 20 | 0.36 | 200 | 55 |  | 0.8 | 3.1 | 0.39
[16 empty] | 65 |  | 0.66 | 2.5 | 0.32
2012-02-13 | 0.25 | 0.50201 | 0.72 | 0.69723 | 200 | 65-70oC | No | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Both 0.36 and 0.72nM Taq were tested, 0.36nM Taq was settled on. |  |  |  |  | 70 |  | 0.7 | 2.5 | 0.35
| 0.5 | 1.004 | 0.72 | 1.3945 | 200 | [10 empty] | 75 |  | 0.65 | 2.3 | 0.41
| 0.75 | 1.506 | 0.72 | 2.0917 | 200
| 1.5 | 3.012 | 0.72 | 4.1834 | 200 | [6 empty] | 2013 | 20 | 0.02 | 200 | 70 | 5min | 1 | 1 | 0.25
| 2.5 | 5.0201 | 0.72 | 6.9723 | 200 | [7 empty] | 20 | 0.02 | 200 | 60 | 5min | 1 | 1 | 0.3
| 5 | 10.0402 | 0.72 | 13.9447 | 200 | [7 empty] | 20 | 0.02 | 200 | 65 | 5min | 1 | 1 | 0.25
| 7.5 | 15.0602 | 0.72 | 20.917 | 200 | [7 empty] | 20 | 0.02 | 200 | 60 | 30min | 1 | 1 | 0.1
| 10 | 20.0803 | 0.72 | 27.8893 | 200 | [7 empty] | 200 | 0.36 | 200 | 60 | 30mins | 8.2 | 7.3 | 2
2012-02-27 | 0.25 | 0.50201 | 0.18 | 2.7889 | 200 | 65-70oC | No | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter |  |  | 200 | 0.36 | 200 | 50 | 30mins | 9.5 | 1.4 | 1.8
| 0.5 | 1.004 | 0.18 | 5.5779 | 200 | [7 empty] | 200 | 0.36 | 200 | 55 | 30mins | 6.8 | 3.6 | 1.7
| 0.75 | 1.506 | 0.18 | 8.3668 | 200 | [7 empty] | 200 | 0.36 | 200 | 60 | 30mins | 10 | 7 | 2
| 1.5 | 3.012 | 0.18 | 16.7336 | 200 | [7 empty] | 200 | 0.36 | 200 | 65 | 30mins | 6.4 | 8 | 1.7
| 2.5 | 5.0201 | 0.18 | 27.8893 | 200 | [7 empty] | 200 | 0.36 | 200 | 70 | 30mins | 8 | 10.5 | 2
| 5 | 10.0402 | 0.18 | 55.7787 | 200
| 7.5 | 15.0602 | 0.18 | 83.668 | 200 | [10 empty] | 70 |  | 1.5 | 2.2 | 0.9
| 10 | 20.0803 | 0.18 | 111.5573 | 200
2012-03-05 | 0.25 | 0.50201 | 0.36 | 1.3945 | 200 | 55-65-70-75oC | No | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Data presented in the original manuscript |  | 200 | 0.36 | 400 | 50 | 30mins | 10.5 | 0 | 1.7
| 0.5 | 1.004 | 0.36 | 2.7889 | 200 | [10 empty] | 55 | 30mins | 8.5 | 2.4 | 2.4
| 0.75 | 1.506 | 0.36 | 4.1834 | 200 | [10 empty] | 60 | 30mins | Data not available
| 1.5 | 3.012 | 0.36 | 8.3668 | 200 | [10 empty] | 65 | 30mins | 8.1 | 4.2 | 2.7
| 2.5 | 5.0201 | 0.36 | 13.9447 | 200 | [10 empty] | 70 | 30mins | Data not available
| 5 | 10.0402 | 0.36 | 27.8893 | 200 | [10 empty] | 75 | 30mins | 8.1 | 3.7 | 2.4
| 7.5 | 15.0602 | 0.36 | 41.834 | 200
| 10 | 20.0803 | 0.36 | 55.7787 | 200 | [7 empty] | 200 | 0.36 | 200 | 50 | 30mins | 9.3 | 2.1 | 1.3
[16 empty] | 55 | 30mins | 7.8 | 4.3 | 2.3
| 10 | 20.0803 | 0.72 | 27.8893 | 200 | 70oC | 5min | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Activity is too high to be measured. Flat line curve. |  |  |  |  | 60 | 30mins
2013-04-17 | 10 | 20.0803 | 0.02 | 1004.0161 | 200 | 70oC | 5min | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | For the same low template conc, the taq conc was reduced further to achieve the ratio of template: taq of 1000:1. |  |  |  |  | 60 | 30mins | 9.5 | 7 | 2.1
[16 empty] | 65 | 30mins | 7.4 | 7.8 | 3.5
[16 empty] | 70 | 30mins | 8.1 | 10.6 | 2.1
[16 empty] | 75 | 30mins | 7.1 | 10 | 3.2
2013-04-23 | 10 | 20.0803 | 0.02 | 1004.0161 | 200 | 60-65oC | 5min | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Assay temp.s was reduced during this trial to reduce chances of primer melting from template during equilibration. 5min equbrn did not seem to be different from non-eqbr'd reactions.
2013-04-26 | 10 | 20.0803 | 0.02 | 1004.0161 | 200 | 60oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Equilibration was increased to 30mins to determine if there was a significant difference between equilibrated and non-equilibrated reactions. Due to the longer eqbrn, assay temp kept at 60degC. Due to low net gain in RFU, Template conc was increased. Standardisation expt.s to explore a range of template:taq ratios to obtain the most optimum plots was discussed (email bet SM and KM 5/3/13). However, after reviewing older data (Jan 2012, see above), 200nM template and 0.36nM taq was finalised for the new series of expts.
2013-05-06 | 100 | 200 | 0.36 | 555.5556 | 200 | 60oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter
2013-05-19 | 100 | 200 | 0.36 | 555.5556 | 200 | 60oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Reproducibility and consistency of the assay conditions was verified by repeatingthe same test conditions 3X times.
| 100 | 200 | 0.36 | 555.5556 | 200 | 60oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter
| 100 | 200 | 0.36 | 555.5556 | 200 | 60oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter
6/6/2013- 6/12/2013 | 100 | 200 | 0.36 | 555.5556 | 2 | 50-60-70oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | In this first attempt at varying [dNTP], a broad range of dNTP was taken (2-2000uM). However, Taq activity seemed to fall after 200uM dNTP.
10
100
200
1000
2000
2013-06-24 | 100 | 200 | 0.36 | 555.5556 | 2 | 50oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter | Based on the observation that there is hardly any taq activity at 1000uM dNTP, the range was altered (2,10, 20, 100, 200, 300, 400, 500uM).
10
20
100
200
300
400
500
7/2/2013 - 7/8/2013 | 100 | 200 | 0.36 | 555.5556 | 2 | 55-65-75oC | 30mins | 20ul rxn + 80ul PG | 1:178 | F'scan/ plt adapter
10
20
100
200
300
400
500

## summary of RFUs obtd
| Template Conc (nM) | Taq Conc (nM) | dNTP Conc (uM) | Assay Temp (degC) | Eqbrn | Background | Net RFU Gain | Largest Std Error in replicate RFU values
2012-01-01 | 100 | 0.36 | 400 | 55 |  | 1.3 | 1.5 | 0.4
|  |  |  | 65 |  | 1.5 | 3.9 | 1.4
|  |  |  | 70 |  | 1.5 | 2.2 | 0.9
|  |  |  | 75 |  | 1.4 | 2.3 | 1.1
| 200 | 0.36 | 400 | 55 |  | 3 | 1.5 | 0.5
|  |  |  | 65 |  | 3.5 | 3.1 | 1.5
|  |  |  | 70 |  | 3.5 | 3.7 | 1.7
|  |  |  | 75 |  | 3.2 | 3.1 | 1.2
2012-02-01 | 20 | 0.36 | 200 | 65 |  | 1.1 | 2.1 | 0.23
| 20 | 0.36 | 200 | 70 |  | 0.99 | 1.3 | 0.19
| 20 | 0.72 | 200 | 65 |  | 1.1 | 3 | 0.34
| 20 | 0.72 | 200 | 70 |  | 1 | 2.3 | 0.26
| 20 | 0.36 | 200 | 55 |  | 0.8 | 3.1 | 0.39
|  |  |  | 65 |  | 0.66 | 2.5 | 0.32
|  |  |  | 70 |  | 0.7 | 2.5 | 0.35
|  |  |  | 75 |  | 0.65 | 2.3 | 0.41
2013 | 20 | 0.02 | 200 | 70 | 5min | 1 | 1 | 0.25
| 20 | 0.02 | 200 | 60 | 5min | 1 | 1 | 0.3
| 20 | 0.02 | 200 | 65 | 5min | 1 | 1 | 0.25
| 20 | 0.02 | 200 | 60 | 30min | 1 | 1 | 0.1
| 200 | 0.36 | 200 | 60 | 30mins | 8.2 | 7.3 | 2
| 200 | 0.36 | 400 | 50 | 30mins | 10.5 | 0 | 1.7
|  |  |  | 55 | 30mins | 8.5 | 2.4 | 2.4
|  |  |  | 60 | 30mins | Data not available
|  |  |  | 65 | 30mins | 8.1 | 4.2 | 2.7
|  |  |  | 70 | 30mins | Data not available
|  |  |  | 75 | 30mins | 8.1 | 3.7 | 2.4
| 200 | 0.36 | 200 | 50 | 30mins | 9.3 | 2.1 | 1.3
|  |  |  | 55 | 30mins | 7.8 | 4.3 | 2.3
|  |  |  | 60 | 30mins | 9.5 | 7 | 2.1
|  |  |  | 60 | 30mins | 9.5 | 7 | 2.1
|  |  |  | 65 | 30mins | 7.4 | 7.8 | 3.5
|  |  |  | 70 | 30mins | 8.1 | 10.6 | 2.1
|  |  |  | 75 | 30mins | 7.1 | 10 | 3.2